[image: image1.jpg]



Heyco Products

Heyco Flex III Liquid Tight Fittings and Tubing 
[image: image2.jpg]


[image: image3.jpg]


[image: image4.jpg]



[image: image5.jpg]



FEATURES & BENEFITS

· Flame retardant, won’t burn
· Non toxic and UV resistant

· Maximum Flexibility tubing; can be used in extremely tight quarters
· Bend radius of Heyco-Flex III Tubing is equal to its outside diameter.  
· Easy, permanent assembly between the tubing and fittings: push the tubing over the fitting ferrule until the tubing “clicks” into place

· Locknuts included with fittings
· For use in both wet and dry applications

· Rated for Type 3R applications

· Resists corrosion, oil and salt water
· Lightweight and lower installed cost

· Suitable for use in high vibration or flexing applications (automotive equipment, fiber optics, computer and peripherals, lab equipment, robotics, etc.)

· Quick and easy installation.

[image: image6.jpg]



DIMENSIONAL CHART – HEYCO-FLEX III LIQUID TIGHT TUBING

	Trade Size
	Part No.
	Description
	Part Dimensions
	Standar Coil Length

	 
	 
	 
	A
	B 
	ft/coil

	 
	 
	 
	Outside Diameter
	Inside Diameter
	 

	 
	 
	 
	in
	mm
	in 
	mm
	 

	 1/2
	8479
	HF3 ½ FR
	0.850
	21,6
	0.651
	16,5
	100

	 3/4
	8480
	HF3 ¾ FR
	1.116
	28,3
	0.865
	22,0
	100


DIMENSIONAL CHART – HEYCO-FLEX III LIQUID TIGHT FITTINGS
	Fits Conduit/Tubing Trade Size
	Part No
	Description
	Thread Size
	Part Dimensions

	 
	Black
	 
	 
	A
	B
	C
	D
	E

	 
	 
	 
	 
	Clearance Hole
	Max O.A. Length
	Thread Length
	Wrenching Nut Thickness
	Wrenching Flats

	 
	 
	 
	 
	in
	mm
	in
	mm
	in
	mm
	in
	mm
	in
	mm

	 1/2
	9147
	HF3C 1/2
	1/2 NPT
	0.875
	22,3
	1.095
	27,8
	0.63
	16,0
	0.20
	5,1
	1.18
	30,0

	 3/4
	9148
	HF3C 3/4
	3/4 NPT
	1.109
	28,2
	1.215
	30,9
	0.63
	16,0
	0.20
	5,1
	1.36
	34,5











1/23/2009







1

